IVI-3.12: Floating Point Services Specification April 2008 Edition Revision 1.0

Important Information

The Floating Point Services Specification (IVI-3.12) is authored by the IVI Foundation member 
companies. For a vendor membership roster list, please visit the IVI Foundation web site at www.ivifoundation.org.

The IVI Foundation wants to receive your comments on this specification. You can contact the Foundation through the web site at www.ivifoundation.org.

Warranty

The IVI Foundation and its member companies make no warranty of any kind with regard to this material, including, but not limited to, the implied warranties of merchantability and fitness for a particular purpose. The IVI Foundation and its member companies shall not be liable for errors contained herein or for incidental or consequential damages in connection with the furnishing, performance, or use of this material.

Trademarks

Product and company names listed are trademarks or trade names of their respective companies.

No investigation has been made of common-law trademark rights in any work.

Floating Point Services Shared Component Specification	4

1. Specification Section Layout	5

1.1 Introduction	5

1.2 References	5

1.3 Implementation	5

2. Floating Point Services Shared Component	6

2.1 IVI Floating Point Numbers Overview	6

2.2 Get Type	6

2.3 NaN	6

2.4 Negative Infinity	7

2.5 Positive Infinity	7

Floating Point Services Shared Component Specification

Revision History

This section is an overview of the revision history of the Floating Point Services Specification. Specific individual additions/modifications to the document in draft revisions are denoted with diff-marks, “|”, in the right hand column of each line of text to which the change/modification applies.

| Table 1. Floating Point Services Specification Revisions |  |  |
| --- | --- | --- |
| Revision Number | Date of Revision | Revision Notes |
| Revision 0.1 | December 12, 2000 | Original draft. |
| Revision 1.0 | June 27, 2001 | Final draft ready for review |
| Revision 1.0 | April 29, 2008 | Editorial change to update the IVI Foundation contact information in the Important Information section to remove obsolete address information and refer only to the IVI Foundation web site. |

# Specification Section Layout

## Introduction

This section gives an overview of the information presented for each method/function that this specification defines.

Each Function section is composed of the following subsections:

Description:

Describes the behavior and intended use of the function.

C Function Prototype:

Defines the prototype that an IVI-C driver uses for the function.

Parameters:

Describes each function parameter.

Return Values:

Defines the possible completion codes for the function.

## References

Several other documents and specifications are related to this specification. These other related documents are as follows:

- IEEE Std 754-1985: IEEE Standard for Binary Floating-Point Arithmetic

## Implementation

The current installation package for the IVI Foundation Common Components,

including the IVI Floating Point Services Shared Component, is available from the IVI Foundation

website at http://www.ivifoundation.org.

# Floating Point Services Shared Component

## IVI Floating Point Numbers Overview

Instruments often return special floating point numbers, such as 9.9e+37, to represent over-range or under-range conditions.  Different instruments sometimes return different values to represent the same measurement conditions.  To process instrument responses correctly, application developers often have to account for these special numbers in their program.  Instrument drivers  provide an easier-to-use interface for the application developer by converting such special values to standard values that can be recognized easily regardless of the instrument being used.

IVI drivers use the IVI Floating Point Services Shared Component to return standard floating point values to user programs. The component contains functions that create and recognize IEEE 754-compliant floating point numbers that represent positive infinity, negative infinity, and not-a-number.

## Get Type

Description

This function returns an enumerated value indicating whether a specific value is a finite floating point number, positive infinity, negative infinity, or a not-a-number.

C Prototype

ViInt32 IviFloat_GetType (ViReal64 Value);

Parameters

| Input | Description | Data Type |
| --- | --- | --- |
| Value | The floating point value for which to determine the value. | ViReal64 |

Return Values

| Return Value | C Identifier | Description |
| --- | --- | --- |
| 0L | IVIFLOAT_VAL_TYPE_FINITE | The value is a normal ViReal64 value. |
| 1L | IVIFLOAT_VAL_TYPE_POS_INF | The value is positive infinity. |
| 2L | IVIFLOAT_VAL_TYPE_NEG_INF | The value is negative infinity. |
| 3L | IVIFLOAT_VAL_TYPE_NAN | The value is not a number. |

## NaN

Description

This function returns a 64 bit floating point number that represents a quiet not-a-number value as defined by the IEEE 754 standard.

C Prototype

ViReal64 IviFloat_NaN (void);

Parameters

None.

Return Values

Returns a 64-bit floating point number that represents a quiet not-a-number value as defined by the IEEE 754 standard.

## Negative Infinity

Description

This function returns a 64 bit floating point number that represents negative infinity as defined by the IEEE 754 standard.

C Prototype

ViReal64 IviFloat_NegInf (void);

Parameters

None.

Return Values

Returns a 64 bit floating point number that represents negative infinity as defined by the IEEE 754 standard.

## Positive Infinity

Description

This function returns a 64 bit floating point number that represents positive infinity as defined by the IEEE 754 standard.

C Prototype

ViReal64 IviFloat_PosInf (void);

Parameters

None.

Return Values

Returns a 64 bit floating point number that represents positive infinity as defined by the IEEE 754 standard.